DAS/DAHS Application questionnaire

General information

Contact person:

Phone Number:

Company:

E-mail:

Address:

Data of application:

Required scope of supply DAHS/DAS

☐ Primary data collection and measure system control interface units located in the analytical rack or shelter

☐ PC based service operator workstation located in the analytical rack or shelter

☐ PC based DAHS workstation for secondary data processing and emission calculation

☐ Complete DAHS software and hardware including all required subsystems

Ex Zones in places of DAHS/DAS subsystems installation

☐ Ex Zone and its type in the analytical rack or shelter

☐ Ex Zone and its type in DAHS workstation location

Requirement for a DAHS functional

☐ Only receiving and processing data from analyzers and sensors, without displaying the measuring system on the mnemonic diagram

☐ Receiving and processing data from analyzers and sensors, receiving diagnostic signals from the components of the measurement system, displaying the operation of the measuring system on a graphic mnemonic diagram

☐ Automatic control of the measuring system by DAHS, execution of control, calibration and diagnostics procedures, through the control of solenoids or relays or another

☐ Automatic or semi-automatically execution of QC/QA (quality control and quality assurance) procedures. If “Yes”, please explain what:

☐ Another requirements or your explanations:

Requirements of the DAHS interface

☐ Do you need the graphic interface of the DAHS program: yes / no

☐ Do you need operator’s working places direct in system rack/shelter: yes / no

☐ Quantity of operator’s working places (PC):

☐ Distance of operator’s working place/s (PC) from measurement systems:

☐ Additional server for data collecting and processing: yes / no

☐ DHAS mobile app: yes / no

☐ WEB interface for remote accesses to DAHS: yes / no

Requirements of the DAHS hardware application

☐ What type of the local rack/shelter DAS PC do you prefer: 19" / desktop / free rack mounting ?

☐ What type of the UPS for the local rack/shelter DAS PC do you prefer: 19" / desktop ?

☐ What type of the monitor and keyboard for local rack/shelter DAS PC do you prefer: 19" moving console / desktop ?

☐ What type of the main DAHS PC do you prefer: 19" / desktop ?

☐ What type of the UPS for the main DAHS PC do you prefer: 19" / desktop ?

☐ What type of the monitor and keyboard for the main DAHS PC do you prefer: 19" moving console / desktop ?

☐ What size and brand of the monitor and keyboard for the main DAHS PC do you prefer?:

Input and output signals of the measurement system

☐ RS-232 interfaces, quantity and from which devices:

☐ RS-485 interfaces, quantity and from which devices:

☐ Ethernet interfaces, quantity and from which devices:

☐ USB interfaces, quantity and from which devices:

☐ 4-20 mА analog signals, quantity and from which devices:

☐ “0/1”digital output from equipment, quantity and for what devices:

☐ “0/1” digital input for equipment, quantity and from which devices:

☐Another:

Used communication protocols by analyzers or sensors

☐ Modbus TCP, type of equipment:

☐ Bayern/Hessen, type of equipment:

☐ OPC DA, type of equipment:

☐ Another (type of equipment and its communication protocols):

Operation system and Data base requirements

Operation system of DAHS PC: ☐ Microsoft Windows, version: ☐ Linux, version:

Operation system of operator’s working places: ☐ Microsoft Windows, version: ☐ Linux, version:

Operation system of server: ☐ Microsoft Windows, version: ☐ Linux, version:

Preferred Data base: ☐ Microsoft SQL Server, version: ☐ MySQL, version: ☐ PostreSQL, version: ☐ Oracle, version:

☐ Another:

External communication channels for DAHS connection

DAHS external communication: yes/no ☐ Ethernet ☐ 3G/LTE ☐ Another:

Specify the available external communication channels bandwidth:

DAHS integration with another external systems or servers

Data communication with external systems or servers: yes / no If "Yes", explain:

Data communication protocols for integration with external systems: ☐ OPC DA ☐ Modbus ☐ Another:

Channels for communication with external systems: ☐ Ethernet, wired ☐ Ethernet, optic ☐ Ethernet, radio ☐ 3G/LTE ☐ Another:

Output documents (reports) generated by the program

DAHS generates output reports/documents: yes /no If “yes” please specify and attach required forms: ☐ Summary report of current/archived measurements ☐ Continuous Emission Monitoring quarterly summary report ☐ Annual Emission report ☐ QC/QA procedures summary reports ☐ Special forms of state accountability ☐ Another:

InformationSecurity

Specify the number of users in the system:

Specify the user’s roles (access levels):

Describe the general requirements for the security and data protection:

Checklist and Confirmations

☐ Confirm that communication channels between local DAS, your remote DSC and main DAHS will be provided

☐ Confirm that signals from/to equipment will be provided to/from local DAS inlets/outlets

☐ Confirm that signals from/to equipment will be provided to/from local DAS inlets/outlets

General DAHS scheme

☐ Please provide drawing and description vision of your full DAHS scheme